| Company Name | Product/Device | Disadvantages/Drawbacks |
| --- | --- | --- |
| Apple | Apple Watch | - High Cost - Requires initial investment of ≈ 2000% for the entire package (phone+watch) - Limited Capabilities - Functions only with apple products - Dependency on phone - Both products, watch and phone must to be charged for the system to work. Without the phone, the watch does not accomplish its job. - False Alarms - Sudden movements, standing up and crouching can trigger false alarms - Not Weather Proof - Cannot be worn in wet environments such as rain, or showers, both high risk fall environments. |
| LifeFone | VIPx Fall Detection Device | - High Ongoing Cost - Requires a subscription of 40-50$ monthly for fall detection services - False Alarms - Sudden movements, standing up and crouching can trigger false alarms - Limited Operating Range - The wearable device must remain near a home-based central unit for accurate detection and alerts. |
| Philips Lifeline | Auto Alert Pendant | - High Ongoing Cost - Requires a subscription of 40$ monthly for fall detection services - Limited Operating Range - The device must be near a home-based central unit for accurate detection and alerts. - False Alarms - Sudden movements, standing up and crouching can trigger false alarms - Not Weather Proof - Cannot be worn in wet environments such as rain, or even showers, both high risk fall environments. |
| BayAlarm Medical | Pendant and Watch System | - High Ongoing Cost - Requires a subscription of 25- 40$ monthly for fall detection services - Bulky Design - Cumbersome to wear and use when performing daily activities - False Alarms - Quick movements, standing up and crouching can activate a false alarm |

Based on our initial competitor analysis, the main drawbacks for existing fall detection devices include high cost, frequent false alarms and a lack of environmental versatility (weather). Our design will look to address these inefficiencies, creating a more effective and usable fall detection device. These are the key factors of focus for our team in order to establish differentiability and uniqueness in the fall detection market.